# MONTHLY FIRE SAFETY AUDIT FORM

| Date of audit |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Name of person(s) undertaking audit |  |  |  |  |  |  |
|  |  | Y | N | N/A | Comments and hazards identified |  |
| Fire hazards — electrical |  |  |  |  |  |  |
| Does the organisation have suitable procedures for the purchase, use and maintenance of electrical equipment and systems? |  | Y |  |  |  |  |
| Is the fixed installation subject to periodic inspection and testing to best practice (e.g., IET guidance)? |  | Y |  |  | EICR completed |  |
| Has any recommended remedial work been carried out on the system? |  | Y |  |  |  |  |
| Are all portable appliances subject to a regime of periodic inspection and testing to best practice? |  | Y |  |  | PAT testing completed |  |
| Are staff aware that only trained personnel can make repairs or alterations to systems and equipment? |  | Y |  |  | Asked staff on shift |  |
| Are suitable records and documentation kept in relation to electrical safety (e.g., maintenance and testing)? |  | Y |  |  | In fire file |  |
| Do inspection records indicate any issues with the use of the electrical system? |  |  | N |  |  |  |
| Has the necessary remedial action been taken following the inspection? |  | Y |  |  |  |  |
| Fire hazards — lightning |  |  |  |  |  |  |
| Does the premise have a lightning protection system? |  | Y |  |  | Emergency lighting in place |  |
| Are there records relating to the testing, inspection and maintenance of the system? |  | Y |  |  | Within fire file there is monthly emergency lighting testing. |  |
| Has any recommended remedial work been carried out? |  | Y |  |  | See fire risk assessment |  |
| Fire hazards — smoking |  |  |  |  |  |  |
| Is there a policy on smoking at work that is made known to all premise occupiers? |  | Y |  |  |  |  |
| Is smoking prohibited on the premises? |  | Y |  |  | Designated areas only |  |
| Are dedicated smoking areas provided with suitable facilities? |  | Y |  |  | Covered area at back of building |  |
| If so, has the inspection regime identified any matters of concern, (e.g., signs of unauthorised smoking)? |  |  |  |  |  |  |
| Has the necessary remedial action been taken following the inspection? |  | Y |  |  |  |  |

| Fire hazards — arson |  |  |  |  |
| --- | --- | --- | --- | --- |
| Have arson risks been subject to any risk assessment? |  |  | NA |  |
| Does the premise have a security policy that takes account of arson risks? | Y |  |  |  |
| Are appropriate measures taken to eliminate or reduce arsons risks? | Y |  |  |  |
| Has the inspection regime identified any matters of concern in relation to physical security arrangements? |  | N |  |  |
| Has the necessary remedial action been taken following the inspection? |  |  | NA |  |
| Fire hazards — catering/kitchens |  |  |  |  |
| Is the use of open flame heat sources reduced to a minimum (e.g., electric hobs)? |  |  | NA |  |
| Is the use of deep fat fryers reduced to a minimum and are they fitted with thermostatic shutoffs? |  |  | NA | No deep fay fryers within the kitchen |
| Is there a regime of inspection, testing, cleaning and maintenance in place for all cooking appliances? | Y |  |  |  |
| Are there any kitchen extract ventilation systems in the premise? | Y |  |  |  |
| Is there documentary evidence in relation to a regime of cleaning, testing and maintaining the kitchen extract ventilation system (filters, duct work and M&E elements)? | Y |  |  |  |
| Has any recommended remedial work been carried out? |  |  | NA |  |
| Has the inspection regime identified any matters of concern in relation to catering or kitchen facilities? |  |  | NA |  |
| Has the necessary remedial action been taken following the inspection? |  |  | NA |  |
| Fire hazards — heating |  |  |  |  |
| Does the home allow the use of portable heaters? |  | N |  |  |
| Is there a clear policy on the purchase, use and maintenance of portable heaters? | Y |  |  |  |
| Does this policy avoid the use of the more hazardous types of heaters (e.g., radiant bar or LPG)? | Y |  |  |  |
| Are all portable heaters subject to a regime of periodic inspection and testing to best practice? | Y |  |  |  |
| Are suitable records and documentation kept (e.g., maintenance and testing)? | Y |  |  |  |
| Has the inspection regime identified any matters of concern in relation to the use of portable heaters? |  |  | NA |  |
| Has the necessary remedial action been taken following the inspection? |  |  | NA |  |

| Fire hazards — housekeeping and waste storage |  |  |  |  |
| --- | --- | --- | --- | --- |
| Are there documented arrangements in relation to the storage and collection of waste materials? | Y |  |  |  |
| Are there dedicated, secure external storage facilities for waste materials? | Y |  |  | Rear courtyard |
| Are the number of waste collections appropriate to the amount of waste materials generated? | Y |  |  | Domestic, recycling, clinical |
| Has the inspection regime identified any matters of concern in relation to housekeeping and waste storage? | Y |  |  |  |
| Has the necessary remedial action been taken following the inspection? | Y |  |  |  |
| Fire hazards — contractors/construction work |  |  |  |  |
| Are there procedures in place for identifying any works undertaken by contractors that may increase fire risks? | Y |  |  |  |
| Are there documented procedures in place for controlling the work of contractors? | Y |  |  |  |
| Is there a process in place for making contractors aware of the premise fire safety arrangements? | Y |  |  |  |
| Is there a ‘Hot work’ permit system in place for contractor’s work? |  |  | NA |  |
| Is there a ‘hot work’ permit system in place for in-house repair and maintenance work? |  |  | NA |  |
| Fire hazards — flammable/dangerous substances |  |  |  |  |
| Is there an effective system for ensuring that the use and storage of flammable or dangerous substances is kept to a minimum and meets best practice? | Y |  |  |  |
| Has a specific risk assessment been completed to the requirements of the Dangerous Substances and Explosive Atmospheres Regulations for substances that come under this regime? | Y |  |  |  |
| Has the inspection regime identified any matters of concern in relation to flammable or dangerous substances? | Y |  |  |  |
| Has the necessary remedial action been taken following the inspection? | Y |  |  |  |
| Fire hazards — equipment and machinery |  |  |  |  |
| Is there a regime for the testing, inspection and maintenance of all plant, equipment and machinery that is capable of creating a fire risk? | Y |  |  |  |
| Is there sufficient documentary evidence in relation to this regime? | Y |  |  |  |
| Has any recommended remedial work been carried out? | Y |  |  |  |

| Fire protection — compartmentation |  |  |  |  |
| --- | --- | --- | --- | --- |
| Is there a regime in place to ensure all compartment elements such as fire doors, fire dampers/shutters are regularly inspected, tested and maintained? | Y |  |  |  |
| Is there sufficient documentary evidence for such a regime? | Y |  |  |  |
| Has any recommended remedial work been carried out from such a regime? | Y |  |  |  |
| Has the inspection regime identified any matters of concern in relation to compartmentation (e.g., damaged fire doors)? | Y |  |  |  |
| Has any recommended remedial work been carried out following such an inspection? | Y |  |  |  |
| Fire protection — fire detection and alarm |  |  |  |  |
| Is there a fire detection / alarm system in the premise? | Y |  |  |  |
| Is there appropriate documentation available in relation to its design, installation, commissioning and alterations? | Y |  |  |  |
| Is there a regime for the testing, inspection and maintenance of the system (including fire door hold-open devices)? | Y |  |  |  |
| Is there appropriate documentation in relation to the systems testing, inspection and maintenance? | Y |  |  |  |
| Has any recommended remedial work been carried out from such a regime? | Y |  |  |  |
| Has the use of the premises changed since the installation of the system? | Y |  |  |  |
| If so, has the adequacy of the current system been given consideration? | Y |  |  |  |
| Are there procedures to reduce and investigate any false alarms associated with the system? | Y |  |  |  |
| Has the inspection regime identified any matters of concern in relation to the system? | Y |  |  | Fire alarm system will need updating at some point. |
| Has any recommended remedial work been carried out following such an inspection? | Y |  |  |  |

| Fire protection — emergency lighting |  |  |  |  |
| --- | --- | --- | --- | --- |
| Is there an emergency lighting system in the premise? | Y |  |  |  |
| Is there appropriate documentation available in relation to its design, installation, commissioning and alterations? | Y |  |  |  |
| Is there a regime for the testing, inspection and maintenance of the system? | Y |  |  |  |
| Is there appropriate documentation in relation to the systems testing, inspection and maintenance? | Y |  |  |  |
| Has any recommended remedial work been carried out from such a regime? | Y |  |  |  |

| Has the use of the premises changed since the installation of the system? |  | N |  |  |
| --- | --- | --- | --- | --- |
| If so, has the adequacy of the current system been given consideration? | Y |  |  |  |
| Has the inspection regime identified any matters of concern in relation to the system? |  | N |  |  |
| Has any recommended remedial work been carried out following such an inspection? |  | N |  |  |
| Fire protection — fire-fighting equipment (portable) |  |  |  |  |
| Is there any portable fire-fighting equipment provided in the premise? | Y |  |  | Fire extinguishers, fire blankets |
| Is there a regime for the testing, inspection and maintenance of the equipment? | Y |  |  |  |
| Is there appropriate documentation in relation to the equipment testing, inspection and maintenance? | Y |  |  |  |
| Has any recommended remedial work been carried out from such a regime? | Y |  |  |  |
| Has the use of the premises changed since the installation of the equipment? |  | N |  |  |
| If so, has the adequacy of the current equipment been given consideration? |  | N |  |  |
| Has the inspection regime identified any matters of concern in relation to the equipment? |  | N |  |  |
| Has any recommended remedial work been carried out following such an inspection? |  | N |  |  |
| Fire protection — means of escape (physical) |  |  |  |  |
| Are the means of escape as per when the premise first came into use? | Y |  |  |  |
| If there has been a change of use is documentary evidence available to suggest that the means of escape were given consideration and have gone through appropriate building control requirements? | Y |  |  |  |
| Has the inspection regime identified any matters of concern in relation to the means of escape? |  | N |  |  |
| Has any recommended remedial work been carried out following such an inspection? | Y |  |  | See fire risk assessment |
| Fire protection — signs and notices |  |  |  |  |
| Has the inspection regime identified any matters of concern in relation to the means of escape? | Y |  |  |  |
| Has any recommended remedial work been carried out following such an inspection? | Y |  |  |  |

| Fire protection — fire-fighting facilities |  |  |  |  |
| --- | --- | --- | --- | --- |
| Is there appropriate documentation available in relation to the design, installation, commissioning and alterations? | Y |  |  |  |
| Is there a regime for the testing, inspection and maintenance of the facilities? | Y |  |  |  |
| Is there appropriate documentation in relation to the facilities testing, inspection and maintenance? | Y |  |  |  |
| Has any recommended remedial work been carried out from such a regime? | Y |  |  |  |
| Fire protection — procedural arrangements |  |  |  |  |
| Are there written arrangements for the effective planning, organisation, control, monitoring and review of the preventive and protective measures? |  | N |  |  |
| Have appropriate persons been appointed to assist the responsible person in undertaking the necessary general fire precautions? - Testing, inspection and maintenance of general fire precautions - Respond to fire situations and implement fire emergency procedures - Implement fire-fighting measures where necessary | Y |  |  |  |
| Is there a regime in place to regularly monitor and review fire safety? - Regular physical inspections of the premise - Investigation of unwanted events (e.g., false alarms, fire incidents) - Review of management arrangements for fire safety | Y |  |  |  |
| Is there relevant documentation available for the above regime? | Y |  |  |  |
| Fire safety management — information, instruction and training |  |  |  |  |
| Have all employees received appropriate information, instruction and training (e.g., at induction)? | Y |  |  |  |
| Has in-house staff with responsibility for testing or inspecting fire related systems and equipment received adequate training? | Y |  |  |  |
| Has in-house staff responsible for implementing fire emergency procedures and fire-fighting measures received adequate training? | Y |  |  |  |
| Are employers and employees from other organisations provided with appropriate instructions and information on fire safety? | Y |  |  |  |
| Is fire related information, instruction and training repeated regularly? | Y |  |  |  |
| Is fire related information, instruction and training routinely reviewed following any significant change? | Y |  |  |  |
| Are there adequate records of the information, instruction and training provided? | Y |  |  |  |

| Fire safety management — fire emergency planning |  |  |  |  |
| --- | --- | --- | --- | --- |
| Has fire evacuation strategy been identified for premise? | Y |  |  |  |
| Has a fire emergency plan been developed for the premise, taking account of the strategy? - Action on discovering a fire - Warning if there is a fire - Calling the fire brigade - Evacuation of the premises including those particularly at risk - Power/process isolation - Places of assembly and roll call - Liaison with emergency services - Identification of key escape routes - The firefighting equipment provided - Specific responsibilities in the event of a fire - Training required - Provision of information to relevant persons | Y |  |  |  |
| Is there a process for on-site filtering of alarm actuations before calling the fire and rescue service? |  | N |  |  |
| If so, has this process been agreed with the local fire and rescue service? |  | N |  |  |
| Is the assembly point sufficient and located in a place of ultimate safety? | Y |  |  |  |
| Is there a regime for undertaking fire drills? | Y |  |  |  |
| Are the findings of such drills recorded and recommendations made to address shortcomings in procedures? | Y |  |  |  |
| Have recommendations been implemented following fire drills? | Y |  |  |  |
| Fire safety management — personal and generic emergency egress plans and systems (PEEP) |  |  |  |  |
| Is there a policy and procedures in relation to the identification, development and training for PEEP | Y |  |  |  |
| Can there be occasional visitors to the premise who may require assistance (e.g., members of public?) | Y |  |  |  |
| Have sufficient persons been appointed to implement PEEP? | Y |  |  |  |
| Have they received appropriate training and tested the PEEP? | Y |  |  |  |
| Is appropriate equipment provided to implement the PEEP (e.g., evacuation chairs, temporary refuge points)? | Y |  |  |  |
| Is such equipment subject to regular testing, inspection and maintenance? | Y |  |  |  |
| Are records of such regimes kept and any remedial action addressed? | Y |  |  | Maintenance folder |

| Additional comments/non-conformities identified |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Inspection completed by |  |  |  | Signature |  |  |
| Date of next inspection |  |  |  |  |  |  |