H&S Audit

Home:  The Swan care home	Date:	Name :	Designation :

| NO. |  | CRITERIA TO BE MEASURED | CONSIDERATIONS | Y | N | COMMENTS |
| --- | --- | --- | --- | --- | --- | --- |
|  | Fire safety |  |  |  |  |  |
| 1. |  | Is the Fire risk assessment within annual review? | Check documentation |  |  |  |
| 2. |  | Are fire extinguishers of correct type for location of equipment, wall mounted with a fire point sign affixed and service history available? | Check 3 locations (Name Locations ) |  |  |  |
| 3. |  | Are all fire doors unobstructed and exit routes clear? | Check 3 locations |  |  |  |
| 4. |  | Are emergency exits identified accordingly? | Is signage in line with current HSE requirements |  |  |  |
| 5. |  | Where fire doors are linked into the fire system do they close properly on activation? | Observe |  |  |  |
| 6. |  | Are emergency lights functional with a record maintained of routine visual inspections? | Review servicing records |  |  |  |
| 7. |  | Is there evidence of appropriate fire system checks on a weekly basis? | Review maintenance records for previous month |  |  |  |
| 8. |  | Is the No smoking signage displayed correctly and evidence to suggest that the policy is adhered to? | Note where no smoking signs are located |  |  |  |
| 9. |  | Is there suitable provision of Evacuation equipment? | Note what is in place, type and number |  |  |  |
| 10 |  | Are stairwells free from obstacles with no evidence of being used for storage purposes? | Check all stairwells |  |  |  |
| 11 |  | Is there evidence of appropriate fire training provision, drills | Check training records |  |  |  |

|  |  | and mock evacuation practice? |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 12 |  | Flammable storage- is petrol safely secured and are Flammable paints locked away? | Check storage arrangements |  |  |  |
| 13 |  | Is the Emergency Box/Bag present and checked weekly? | Check box and log |  |  |  |
| 14 |  | Has the home an up-to-date Business (Emergency) Contingency plan in the event of an emergency? | Is there a hard copy? |  |  |  |
| 15 |  | If oxygen is used in the home, is it kept secure when not in use? Are suitable signs in place to raise awareness? | Is storage safe, locked and signed? |  |  |  |
|  | Maintenance and servicing |  |  |  |  |  |
| 16 |  | Have all maintenance concerns which could have an impact on H&S been dealt with? | Review last H&S action plans. Check maintenance/servicing folders |  |  |  |
| 17 |  | Are all portable appliances tested at least annually with evidence of tests on new appliances brought into the home? | Check last PAT testing documentation |  |  |  |
| 18 |  | Does the home ensure that tradesmen report to reception appropriately and that they are aware of the homes policies? Are site information details displayed in main reception? | Check and confirm use |  |  |  |
| 19 |  | Are risk assessments at the home for work undertaken by contractors? | Check copies held |  |  |  |
| 20 |  | Are call bell checks carried out and recorded at least monthly with evidence of fault reporting where appropriate? | Check maintenance records |  |  |  |
| 21 |  | Are Hot water outlets checked and temperature of the water recorded at least monthly and evidence or remedial action where required? No higher than 44 degrees | Check maintenance records. Observe check being undertaken |  |  |  |
| 22 |  | Are all windows restricted where required and a record | Check random number of windows and |  |  |  |

|  | maintained of monthly checks and fault reporting / remedial action where required? | maintenance records |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 23 | Is there a maintenance book where faults can be recorded which details action taken to rectify the fault? | Where is this kept? Is it up to date? |  |  |  |
| 24 | Are hot water outlets fitted with thermostatic controls? | Check with maintenance- which hot outlets do not have TMV |  |  |  |
| 25 | Are radiators thermostatically controlled or guarded appropriately? | Observe 3 areas |  |  |  |
| 26 | Are room temperatures regularly monitored? | Does the room feel comfortable? |  |  |  |
| 27 | Are any additional sources of heating (e.g. free-standing radiators,) placed appropriately with guards in place and risk assessments? | Do these need to be in place in current room temp |  |  |  |
| 28 | Are all the pipe works to / from hot water outlets covered? | Check at various places |  |  |  |
| 29 | Is there evidence that shower head cleaning is maintained regularly? | Check maintenance records |  |  |  |
| 30 | Have all wheelchairs been checked as fit for use? | Check maintenance records |  |  |  |
| 31 | Is there an inventory to identify slings recording type, description, with weight limit,(info from label) ? | Check 4 slings to confirm log number in situ- check log |  |  |  |
| 32 | Are hoist slings fit for purpose with all stitching intact at seams and no evidence of fraying? | Check 4 - Are regular sling checks being completed |  |  |  |
| 33 | Are step ladders fit for purpose and has an appropriate risk assessment for working at heights been completed where required? | Check maintenance folder |  |  |  |
| 34 | Have mattress/cushion/pillow audits been carried out monthly? | Check maintenance records |  |  |  |
| 35 | Are Staff aware of where stop cocks and trip switches are located? | Ask senior staff |  |  |  |
| 36 | Is the mains gas and electrical installations testing up to date and are certificates available? | Check servicing records |  |  | Out of date- SK & JP made aware in March |

| 37 | Has the passenger lift been subjected to service within the last 6 months? | Check servicing records? |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 38 | Have all LOLER examinations, inspections and tests been completed within the last 6 months? | Check servicing records? |  |  |  |
| 39 | Are there arrangements in place for the reporting of defective plant and equipment? | Where is evidence kept? |  |  |  |
| 40 | Is the risk assessment in relation to the control of Legionella bacteria up to date and any actions completed? | Check servicing records? |  |  |  |
| 41 | Are pest control management measures in place? |  |  |  |  |
| Training |  |  |  |  |  |
| 42 | Have all staff read and signed to state that they understand the H&S policy? | Check policy signing sheets |  |  |  |
| 43 | Have staff undergone H&S training as required? | Check training records |  |  |  |
| 44 | Have all staff completed induction for H&S and are they aware of their responsibilities for H&S? | Speak to 3 staff |  |  |  |
| Staff/ Occupational Health |  |  |  |  |  |
| 45 | Is there a H&S poster displayed containing required and up to date information? | Where is this located? |  |  |  |
| 46 | Is there evidence of H&S meetings at the home on a quarterly basis as a minimum? | Check meeting minutes |  |  |  |
| 47 | Is there an appropriate provision of PPE available and evidence that this is used correctly? | Observe practice |  |  |  |
| 48 | Is the staff training for infection control currently at green? | check training records- observe practice talk to staff |  |  |  |
| 49 | Are appropriate measures in place to minimise cross infection including correct disposal of waste/antibacterial | Observe practice |  |  |  |

|  |  | hand gel dispensers, staffs individual hand gel? |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 50 |  | Are there appropriately stocked up to date first aid boxes available in designated areas including the kitchen, with a member of staff designated to carry out and record checks? | Check random first aid box to confirm it is in date and checked |  |  |  |
| 51 |  | Is there a completed display screen equipment risk assessment with appropriate evaluation for each person using the PC? | Check that these are completed and updated annually |  |  |  |
| 52 |  | Are staff dressed in accordance with the uniform policy and wearing appropriate footwear? | Check staff on duty |  |  |  |
| 53 |  | Where there is use of a company vehicle is this used in line with policy? | N/A |  |  |  |
| 54 |  | Have any recent changes or amendments to the Health and Safety manual been communicated to staff members? | Check staff meetings minutes, staff room notice boards |  |  |  |
| 55 |  | Are arrangements in place to ensure any persons especially at risk e.g. young person’s / pregnant employees are assessed? | Check relevant staff files |  |  |  |
| 56 |  | Are employment medical questionnaires / or medical examinations provided to staff? | Check relevant staff files |  |  |  |
| 57 |  | Are first aid facilities checked monthly as sufficient for the number of people on site and sterile items in date? | Check the siting of first aid boxes, accessibility, and dates of checks |  |  |  |
| 58 |  | Does the home consult with its workforce over matters of health and safety? | Evidence of staff meetings, health and safety meetings |  |  |  |
| 59 |  | Is there a dedicated health and safety notice board / or similar facility? | In entrance hall |  |  |  |
|  | Environment |  |  |  |  |  |
| 60 |  | Is all freestanding furniture i.e., wardrobes attached securely to the wall? | Check 5 rooms |  |  |  |

| 61 | Is the company H&S policy statement signed, dated within the year and displayed? | Check |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 62 | Are appropriate COSHH assessments available for appropriate departments with evidence of evaluations? | Check that all departments have relevant COSHH data sheets and risk assessments |  |  |  |
| 63 | Is there appropriate H&S COSHH signage wherever it is stored in the home? | Check storage and housekeeping areas |  |  |  |
| 64 | Are sluices, COSHH cupboards and linen stores kept locked? | Check all |  |  |  |
| 65 | Is the sluice room tidy and odour-free, with the availability of hot water / clinical waste bags etc.? | Check |  |  |  |
| 66 | Is there an appropriate system in place for RIDDOR reporting? | How many RIDDOR reported since last audit? |  |  |  |
| 67 | Is Employer Liability Insurance certificate in date and displayed? | Check- where is it situated |  |  |  |
| 68 | Are floor coverings safe with no risk of trips or slips? | Observe 3 different areas |  |  |  |
| 69 | Is the external environment and approach to the home including car parking area safe? | Any slips trips loose leaves? Broken tiles? |  |  |  |
| 70 | Is there evidence of moving and handling risk assessments per department with evidence of evaluations? | Check master copy of risk assessments |  |  |  |
| 71 | Are appropriately coloured coded Sharps boxes in use? | Check what is in use |  |  |  |
| 72 | Is lighting appropriate for the individual areas of the home? | Check 3 areas |  |  |  |
| 73 | Is there appropriate ventilation in laundry and kitchen areas? | Check these facilities |  |  |  |
| 74 | Are specific risk assessments carried out? - Manual handling ( resident and nonresident) - Work at height | Check risk assessments are in place |  |  |  |

|  | - DSE - First aid |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 75 | Are treatment rooms locked and controlled drugs always kept secure? | Check |  |  |  |
| 76 | Are unwanted drugs disposed of in accordance with hazardous waste guidelines? | Check and monitor records |  |  |  |
| 77 | Is the Boundary fence in good order? | Check |  |  |  |
| 78 | Are bin stores (for both general and clinical waste) kept secure and tidy, with no rubbish on floor and lids closed.? | Check |  |  |  |
| 79 | Are ladders stored correctly? | Away from the building and secured |  |  |  |
| 80 | Is the homes own security procedures in place and evidence of security checks completed at shift change in place? |  |  |  |  |
| Total number of Yes answers Total number of No answers: (Percentage= total number of Yes answers divided by 80 multiplied by100) |  |  |  |  |  |
| Total Compliance Score: RED 0-50% AMBER 51%-80% GREEN 81%+ |  |  |  |  |  |

ACTION PLAN

| IMMEDIATE CORRECTIVE ACTION REQUIRED |  | COMPLETION DATE | BY WHOM | PREVENTATIVE ACTIONS REQUIRED TO STOP REOCCURANCE |  | REQUIRED DATE OF COMPLETION |  | BY WHOM |  | SIGNED/DATED BY MANAGER/QCI ON FULLCOMPLETION |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

MANAGER ‘S SIGNATURE	AUDITOR’S SIGNATURE